## SE Data
SOLAR ENERGY
No. | Location | Criteria
|  | Direct Normal Irradiance | Specific PV Power Output | Global Horizontal Irradiance | Air Temperature | Average Slope of Terrain | Distance from Demand/Load Centers
1 | Agoncillo | 3.9 | 4.02 | 4.97 | 26.7 | 14.16 | 15.22
2 | Alitagtag | 3.52 | 3.88 | 4.75 | 25.1 | 5.48 | 8.49
3 | Balayan | 4.15 | 4.16 | 5.13 | 27.1 | 6.29 | 6.72
4 | Balete | 3.55 | 3.86 | 4.76 | 27.1 | 10.81 | 14.87
5 | Batangas City | 3.87 | 4.01 | 4.96 | 26.6 | 12.53 | 9.94
6 | Bauan | 3.77 | 3.97 | 3.77 | 26.5 | 8.99 | 7.65
7 | Calaca | 4.13 | 4.15 | 5.12 | 27 | 9.61 | 6.14
8 | Calatagan | 4.52 | 4.32 | 5.32 | 27.1 | 8.53 | 16.42
9 | City of Tanauan | 3.76 | 3.94 | 4.85 | 26 | 5.02 | 12.32
10 | Cuenca | 3.45 | 3.83 | 4.7 | 24.8 | 13.71 | 9.66
11 | Ibaan | 3.81 | 3.97 | 4.91 | 25.9 | 4.2 | 6.87
12 | Laurel | 3.97 | 4.03 | 5 | 26.9 | 18.13 | 18.05
13 | Lemery | 3.69 | 3.95 | 4.87 | 26.9 | 10.66 | 10.42
14 | Lian | 3.75 | 4.11 | 5.06 | 26.6 | 7.66 | 11.59
15 | Lipa City | 3.54 | 3.7 | 4.59 | 24.5 | 5.51 | 17.44
16 | Lobo | 4.04 | 3.95 | 4.91 | 25.9 | 20.93 | 20.44
17 | Mabini | 4.04 | 4.08 | 5.05 | 26.4 | 16.75 | 13.83
18 | Malvar | 3.67 | 3.92 | 4.81 | 25.6 | 4.76 | 9.53
19 | Mataasnakahoy | 3.49 | 3.84 | 4.7 | 24.4 | 10.04 | 17.5
20 | Nasugbu | 3.77 | 3.93 | 4.85 | 26.8 | 12.72 | 69.71
21 | Padre Garcia | 3.78 | 3.95 | 4.89 | 25.7 | 1.87 | 18.53
22 | Rosario | 3.83 | 3.97 | 4.91 | 25.9 | 5.57 | 20.66
23 | San Jose | 3.6 | 3.88 | 4.78 | 25.3 | 3.43 | 6.78
24 | San Juan | 4.28 | 4.2 | 5.2 | 26.4 | 7.98 | 34.79
25 | San Luis | 3.55 | 3.86 | 4.78 | 26.8 | 8.64 | 12
26 | San Nicolas | 3.73 | 3.92 | 4.88 | 26.9 | 7.16 | 22.6
27 | San Pascual | 3.87 | 4 | 4.96 | 26.4 | 2.65 | 4.88
28 | Santa Teresita | 3.5 | 3.79 | 4.72 | 26.6 | 5.1 | 13.02
29 | Santo Tomas | 3.68 | 3.91 | 4.81 | 26 | 6.54 | 3.63
30 | Taal | 3.64 | 3.91 | 4.84 | 26.7 | 3.93 | 16.74
31 | Talisay | 3.82 | 3.99 | 4.92 | 26.9 | 15.06 | 21.84
32 | Taysan | 3.83 | 3.99 | 4.93 | 26.1 | 9.31 | 21.21
33 | Tingloy | 4.224 | 4.146 | 5.151 | 26.6 | 20.0558 | 20.32
34 | Tuy | 3.847 | 3.992 | 4.924 | 26.9 | 6.6622 | 2.28

## SE_Norm
SOLAR ENERGY (Normalized)
No. | Location | Criteria
|  | Direct Normal Irradiance | Specific PV Power Output | Global Horizontal Irradiance | Air Temperature | Average Slope of Terrain | Distance from Demand/Load Centers |  | Direct Normal Irradiance | Specific PV Power Output | Global Horizontal Irradiance | Air Temperature | Average Slope of Terrain | Distance from Demand/Load Centers
weights |  | 0.27 | 0.27 | 0.27 | 0.09 | 0.06 | 0.04 | Target | 0.88496 | 0.92593 | 0.84586 | 0.976 | 0.23375 | 0.114
target value |  | 4 | 4 | 4.5 | 25 | 8 | 20
|  | min | min | min | max | max | max
1 | Agoncillo | 0.86283 | 0.93056 | 0.93421 | 0.91386 | 0.13206 | 0.1498
2 | Alitagtag | 0.77876 | 0.89815 | 0.89286 | 0.97211 | 0.34124 | 0.26855
3 | Balayan | 0.91814 | 0.96296 | 0.96429 | 0.90037 | 0.2973 | 0.33929
4 | Balete | 0.7854 | 0.89352 | 0.89474 | 0.90037 | 0.17299 | 0.15333
5 | Batangas City | 0.85619 | 0.92824 | 0.93233 | 0.91729 | 0.14924 | 0.22938
6 | Bauan | 0.83407 | 0.91898 | 0.70865 | 0.92075 | 0.20801 | 0.29804
7 | Calaca | 0.91372 | 0.96065 | 0.96241 | 0.9037 | 0.19459 | 0.37134
8 | Calatagan | 1 | 1 | 1 | 0.90037 | 0.21923 | 0.13886
9 | City of Tanauan | 0.83186 | 0.91204 | 0.91165 | 0.93846 | 0.37251 | 0.18506
10 | Cuenca | 0.76327 | 0.88657 | 0.88346 | 0.98387 | 0.1364 | 0.23602
11 | Ibaan | 0.84292 | 0.91898 | 0.92293 | 0.94208 | 0.44524 | 0.33188
12 | Laurel | 0.87832 | 0.93287 | 0.93985 | 0.90706 | 0.10314 | 0.12632
13 | Lemery | 0.81637 | 0.91435 | 0.91541 | 0.90706 | 0.17542 | 0.21881
14 | Lian | 0.82965 | 0.95139 | 0.95113 | 0.91729 | 0.24413 | 0.19672
15 | Lipa City | 0.78319 | 0.85648 | 0.86278 | 0.99592 | 0.33938 | 0.13073
16 | Lobo | 0.89381 | 0.91435 | 0.92293 | 0.94208 | 0.089345 | 0.11155
17 | Mabini | 0.89381 | 0.94444 | 0.94925 | 0.92424 | 0.11164 | 0.16486
18 | Malvar | 0.81195 | 0.90741 | 0.90414 | 0.95312 | 0.39286 | 0.23924
19 | Mataasnakahoy | 0.77212 | 0.88889 | 0.88346 | 1 | 0.18625 | 0.13029
20 | Nasugbu | 0.83407 | 0.90972 | 0.91165 | 0.91045 | 0.14701 | 0.032707
21 | Padre Garcia | 0.83628 | 0.91435 | 0.91917 | 0.94942 | 1 | 0.12304
22 | Rosario | 0.84735 | 0.91898 | 0.92293 | 0.94208 | 0.33573 | 0.11036
23 | San Jose | 0.79646 | 0.89815 | 0.8985 | 0.96443 | 0.54519 | 0.33628
24 | San Juan | 0.9469 | 0.97222 | 0.97744 | 0.92424 | 0.23434 | 0.065536
25 | San Luis | 0.7854 | 0.89352 | 0.8985 | 0.91045 | 0.21644 | 0.19
26 | San Nicolas | 0.82522 | 0.90741 | 0.91729 | 0.90706 | 0.26117 | 0.10088
27 | San Pascual | 0.85619 | 0.92593 | 0.93233 | 0.92424 | 0.70566 | 0.46721
28 | Santa Teresita | 0.77434 | 0.87731 | 0.88722 | 0.91729 | 0.36667 | 0.17512
29 | Santo Tomas | 0.81416 | 0.90509 | 0.90414 | 0.93846 | 0.28593 | 0.6281
30 | Taal | 0.80531 | 0.90509 | 0.90977 | 0.91386 | 0.47583 | 0.1362
31 | Talisay | 0.84513 | 0.92361 | 0.92481 | 0.90706 | 0.12417 | 0.1044
32 | Taysan | 0.84735 | 0.92361 | 0.92669 | 0.93487 | 0.20086 | 0.1075
33 | Tingloy | 0.93451 | 0.95972 | 0.96823 | 0.91729 | 0.09324 | 0.1122
34 | Tuy | 0.85111 | 0.92407 | 0.92556 | 0.90706 | 0.28069 | 1

## SE_WASPAS
SOLAR ENERGY
No. | Location | WSM | WPM | WASPAS | RANK |  | WSM | WPM | WASPAS | Minimum WASPAS Score | Decision
1 | Agoncillo | 0.83261 | 0.7534 | 0.79301 | 20 | Target | 0.82375 | 0.75939 | 0.79157 | 0.79157 | Suitable
2 | Alitagtag | 0.81254 | 0.78133 | 0.79694 | 19 | [5 empty] | Suitable
3 | Balayan | 0.8807 | 0.8449 | 0.8628 | 3 | [5 empty] | Suitable
4 | Balete | 0.79243 | 0.72951 | 0.76097 | 30 | [5 empty] | Not Suitable
5 | Batangas City | 0.83421 | 0.76971 | 0.80196 | 18 | [5 empty] | Suitable
6 | Bauan | 0.77193 | 0.7299 | 0.75091 | 34 | [5 empty] | Not Suitable
7 | Calaca | 0.87379 | 0.82489 | 0.84934 | 6 | [5 empty] | Suitable
8 | Calatagan | 0.90974 | 0.83571 | 0.87272 | 2 | [5 empty] | Suitable
9 | City of Tanauan | 0.83121 | 0.79296 | 0.81208 | 13 | [5 empty] | Suitable
10 | Cuenca | 0.79017 | 0.72786 | 0.75901 | 32 | [5 empty] | Not Suitable
11 | Ibaan | 0.84968 | 0.82808 | 0.83888 | 7 | [5 empty] | Suitable
12 | Laurel | 0.83566 | 0.74202 | 0.78884 | 22 | [5 empty] | Not Suitable
13 | Lemery | 0.81537 | 0.7582 | 0.78678 | 23 | [5 empty] | Not Suitable
14 | Lian | 0.84276 | 0.79071 | 0.81673 | 11 | [5 empty] | Suitable
15 | Lipa City | 0.79089 | 0.74509 | 0.76799 | 29 | [5 empty] | Not Suitable
16 | Lobo | 0.832 | 0.7304 | 0.7812 | 25 | [5 empty] | Not Suitable
17 | Mabini | 0.8491 | 0.76296 | 0.80603 | 16 | [5 empty] | Suitable
18 | Malvar | 0.82726 | 0.7967 | 0.81198 | 14 | [5 empty] | Suitable
19 | Mataasnakahoy | 0.79339 | 0.72801 | 0.7607 | 31 | [5 empty] | Not Suitable
20 | Nasugbu | 0.80904 | 0.69782 | 0.75343 | 33 | [5 empty] | Not Suitable
21 | Padre Garcia | 0.87122 | 0.8322 | 0.85171 | 5 | [5 empty] | Suitable
22 | Rosario | 0.83545 | 0.7802 | 0.80782 | 15 | [5 empty] | Suitable
23 | San Jose | 0.8331 | 0.81661 | 0.82485 | 9 | [5 empty] | Suitable
24 | San Juan | 0.88194 | 0.79322 | 0.83758 | 8 | [5 empty] | Suitable
25 | San Luis | 0.79843 | 0.74735 | 0.77289 | 28 | [5 empty] | Not Suitable
26 | San Nicolas | 0.81682 | 0.7539 | 0.78536 | 24 | [5 empty] | Not Suitable
27 | San Pascual | 0.87711 | 0.8693 | 0.87321 | 1 | [5 empty] | Suitable
28 | Santa Teresita | 0.79706 | 0.76006 | 0.77856 | 26 | [5 empty] | Not Suitable
29 | Santo Tomas | 0.83506 | 0.81133 | 0.82319 | 10 | [5 empty] | Suitable
30 | Taal | 0.82369 | 0.78401 | 0.80385 | 17 | [5 empty] | Suitable
31 | Talisay | 0.82052 | 0.73175 | 0.77614 | 27 | [5 empty] | Not Suitable
32 | Taysan | 0.82885 | 0.75706 | 0.79295 | 21 | [5 empty] | Suitable
33 | Tingloy | 0.86551 | 0.75902 | 0.81226 | 12 | [5 empty] | Suitable
34 | Tuy | 0.86768 | 0.84304 | 0.85536 | 4 | [5 empty] | Suitable

## WE Data
WIND ENERGY
No. | Location | Criteria
|  | Mean Wind Speed at 100m height | Mean Power Density at 100m height | Orography | Roughness length | Distance from Demand/Load Centers
1 | Agoncillo | 7.27 | 400 | 42 | 0.1 | 15.22
2 | Alitagtag | 6.27 | 284 | 129 | 0.1 | 8.49
3 | Balayan | 8.22 | 655 | 336 | 0.1 | 6.72
4 | Balete | 7.09 | 421 | 528 | 0.2 | 14.87
5 | Batangas City | 7.13 | 378 | 344.5 | 0.1 | 9.94
6 | Bauan | 7.04 | 368 | 106 | 0.1 | 7.65
7 | Calaca | 8.51 | 622 | 303.5 | 0.1 | 6.14
8 | Calatagan | 8.69 | 668 | 113 | 0.1 | 16.42
9 | City of Tanauan | 6.85 | 383 | 495 | 0.1 | 12.32
10 | Cuenca | 8.86 | 800 | 303 | 0.1 | 9.66
11 | Ibaan | 5.7 | 226 | 118.5 | 0.1 | 6.87
12 | Laurel | 8.52 | 642 | 298.5 | 0.1 | 18.05
13 | Lemery | 8.16 | 540 | 238.5 | 0.1 | 10.42
14 | Lian | 7.5 | 454 | 122 | 0.1 | 11.59
15 | Lipa City | 7.48 | 489 | 595 | 0.1 | 17.44
16 | Lobo | 8.2 | 633 | 501.5 | 0.1 | 20.44
17 | Mabini | 9.43 | 755 | 303 | 0.2 | 13.83
18 | Malvar | 7.04 | 412 | 149.5 | 0.1 | 9.53
19 | Mataasnakahoy | 7.62 | 562 | 237 | 0.1 | 17.5
20 | Nasugbu | 9.05 | 830 | 304.5 | 0.1 | 69.71
21 | Padre Garcia | 5.33 | 224 | 125 | 0.1 | 18.53
22 | Rosario | 6.5 | 301 | 213.5 | 0.1 | 20.66
23 | San Jose | 6.83 | 348 | 283 | 0.1 | 6.78
24 | San Juan | 7.07 | 403 | 252 | 0.1 | 34.79
25 | San Luis | 6.77 | 344 | 178 | 0.1 | 12
26 | San Nicolas | 7.19 | 507 | 106 | 0.1 | 22.6
27 | San Pascual | 5.64 | 214 | 100 | 0.1 | 4.88
28 | Santa Teresita | 6.23 | 326 | 102.5 | 0.1 | 13.02
29 | Santo Tomas | 8.69 | 706 | 537 | 0.1 | 3.63
30 | Taal | 6.6 | 340 | 77 | 0.1 | 16.74
31 | Talisay | 8.13 | 593 | 283.5 | 0.1 | 21.84
32 | Taysan | 6.6 | 303 | 268 | 0.1 | 21.21
33 | Tingloy | 9.18 | 692 | 212.5 | 0.2 | 20.32
34 | Tuy | 8.79 | 775 | 314 | 0.1 | 2.28

## WE_Norm
WIND ENERGY (Normalized)
No. | Location | Criteria
|  | Mean Wind Speed at 100m height | Mean Power Density at 100m height | Orography | Roughness length | Distance from Demand/Load Centers |  | Mean Wind Speed at 100m height | Mean Power Density at 100m height | Orography | Roughness length | Distance from Demand/Load Centers
weights |  | 0.344 | 0.344 | 0.165 | 0.1 | 0.047 | Target | 0.53022 | 0.60241 | 0.33613 | 0.5 | 0.114
target value |  | 5 | 500 | 200 | 0.2 | 20
|  | min | min | min | max | max
1 | Agoncillo | 0.77094 | 0.48193 | 0.070588 | 1 | 0.1498
2 | Alitagtag | 0.6649 | 0.34217 | 0.21681 | 1 | 0.26855
3 | Balayan | 0.87169 | 0.78916 | 0.56471 | 1 | 0.33929
4 | Balete | 0.75186 | 0.50723 | 0.88739 | 0.5 | 0.15333
5 | Batangas City | 0.7561 | 0.45542 | 0.57899 | 1 | 0.22938
6 | Bauan | 0.74655 | 0.44337 | 0.17815 | 1 | 0.29804
7 | Calaca | 0.90244 | 0.7494 | 0.51008 | 1 | 0.37134
8 | Calatagan | 0.92153 | 0.80482 | 0.18992 | 1 | 0.13886
9 | City of Tanauan | 0.72641 | 0.46145 | 0.83193 | 1 | 0.18506
10 | Cuenca | 0.93955 | 0.96386 | 0.50924 | 1 | 0.23602
11 | Ibaan | 0.60445 | 0.27229 | 0.19916 | 1 | 0.33188
12 | Laurel | 0.9035 | 0.77349 | 0.50168 | 1 | 0.12632
13 | Lemery | 0.86532 | 0.6506 | 0.40084 | 1 | 0.21881
14 | Lian | 0.79533 | 0.54699 | 0.20504 | 1 | 0.19672
15 | Lipa City | 0.79321 | 0.58916 | 1 | 1 | 0.13073
16 | Lobo | 0.86957 | 0.76265 | 0.84286 | 1 | 0.11155
17 | Mabini | 1 | 0.90964 | 0.50924 | 0.5 | 0.16486
18 | Malvar | 0.74655 | 0.49639 | 0.25126 | 1 | 0.23924
19 | Mataasnakahoy | 0.80806 | 0.67711 | 0.39832 | 1 | 0.13029
20 | Nasugbu | 0.9597 | 1 | 0.51176 | 1 | 0.032707
21 | Padre Garcia | 0.56522 | 0.26988 | 0.21008 | 1 | 0.12304
22 | Rosario | 0.68929 | 0.36265 | 0.35882 | 1 | 0.11036
23 | San Jose | 0.72428 | 0.41928 | 0.47563 | 1 | 0.33628
24 | San Juan | 0.74973 | 0.48554 | 0.42353 | 1 | 0.065536
25 | San Luis | 0.71792 | 0.41446 | 0.29916 | 1 | 0.19
26 | San Nicolas | 0.76246 | 0.61084 | 0.17815 | 1 | 0.10088
27 | San Pascual | 0.59809 | 0.25783 | 0.16807 | 1 | 0.46721
28 | Santa Teresita | 0.66066 | 0.39277 | 0.17227 | 1 | 0.17512
29 | Santo Tomas | 0.92153 | 0.8506 | 0.90252 | 1 | 0.6281
30 | Taal | 0.69989 | 0.40964 | 0.12941 | 1 | 0.1362
31 | Talisay | 0.86214 | 0.71446 | 0.47647 | 1 | 0.1044
32 | Taysan | 0.69989 | 0.36506 | 0.45042 | 1 | 0.1075
33 | Tingloy | 0.97349 | 0.83373 | 0.35714 | 0.5 | 0.1122
34 | Tuy | 0.93213 | 0.93373 | 0.52773 | 1 | 1

## WE_WASPAS
WIND ENERGY
No. | Location | WSM | WPM | WASPAS | RANK |  | WSM | WPM | WASPAS | Minimum WASPAS Score | Decision
1 | Agoncillo | 0.54968 | 0.42012 | 0.4849 | 28 | Target | 0.50045 | 0.47527 | 0.48786 | 0.48786 | Not Suitable
2 | Alitagtag | 0.49483 | 0.43896 | 0.46689 | 29 | [5 empty] | Not Suitable
3 | Balayan | 0.78045 | 0.76049 | 0.77047 | 7 | [5 empty] | Suitable
4 | Balete | 0.63675 | 0.60123 | 0.61899 | 17 | [5 empty] | Suitable
5 | Batangas City | 0.62308 | 0.5909 | 0.60699 | 18 | [5 empty] | Suitable
6 | Bauan | 0.55274 | 0.48584 | 0.51929 | 26 | [5 empty] | Suitable
7 | Calaca | 0.76985 | 0.74663 | 0.75824 | 8 | [5 empty] | Suitable
8 | Calatagan | 0.73173 | 0.62519 | 0.67846 | 13 | [5 empty] | Suitable
9 | City of Tanauan | 0.65459 | 0.61529 | 0.63494 | 16 | [5 empty] | Suitable
10 | Cuenca | 0.84989 | 0.8079 | 0.8289 | 3 | [5 empty] | Suitable
11 | Ibaan | 0.45006 | 0.39111 | 0.42058 | 32 | [5 empty] | Not Suitable
12 | Laurel | 0.7656 | 0.71583 | 0.74071 | 9 | [5 empty] | Suitable
13 | Lemery | 0.6979 | 0.65712 | 0.67751 | 14 | [5 empty] | Suitable
14 | Lian | 0.60484 | 0.5357 | 0.57027 | 20 | [5 empty] | Suitable
15 | Lipa City | 0.74668 | 0.69955 | 0.72312 | 10 | [5 empty] | Suitable
16 | Lobo | 0.8058 | 0.76141 | 0.7836 | 5 | [5 empty] | Suitable
17 | Mabini | 0.79869 | 0.74233 | 0.77051 | 6 | [5 empty] | Suitable
18 | Malvar | 0.58027 | 0.52908 | 0.55468 | 23 | [5 empty] | Suitable
19 | Mataasnakahoy | 0.68274 | 0.63437 | 0.65856 | 15 | [5 empty] | Suitable
20 | Nasugbu | 0.86012 | 0.75169 | 0.8059 | 4 | [5 empty] | Suitable
21 | Padre Garcia | 0.42772 | 0.36687 | 0.3973 | 34 | [5 empty] | Not Suitable
22 | Rosario | 0.52626 | 0.47254 | 0.4994 | 27 | [5 empty] | Suitable
23 | San Jose | 0.58767 | 0.55777 | 0.57272 | 19 | [5 empty] | Suitable
24 | San Juan | 0.5979 | 0.53931 | 0.56861 | 21 | [5 empty] | Suitable
25 | San Luis | 0.54783 | 0.49949 | 0.52366 | 24 | [5 empty] | Suitable
26 | San Nicolas | 0.60655 | 0.51928 | 0.56292 | 22 | [5 empty] | Suitable
27 | San Pascual | 0.44413 | 0.3779 | 0.41101 | 33 | [5 empty] | Not Suitable
28 | Santa Teresita | 0.49903 | 0.43338 | 0.46621 | 30 | [5 empty] | Not Suitable
29 | Santo Tomas | 0.88805 | 0.88466 | 0.88635 | 1 | [5 empty] | Suitable
30 | Taal | 0.50943 | 0.4228 | 0.46612 | 31 | [5 empty] | Not Suitable
31 | Talisay | 0.72587 | 0.67354 | 0.69971 | 11 | [5 empty] | Suitable
32 | Taysan | 0.54572 | 0.4937 | 0.51971 | 25 | [5 empty] | Suitable
33 | Tingloy | 0.73589 | 0.66113 | 0.69851 | 12 | [5 empty] | Suitable
34 | Tuy | 0.87593 | 0.85794 | 0.86694 | 2 | [5 empty] | Suitable